# STANDARD OPERATING PROCEDURE FOR TEMPERATURE MONITORING OF TREATMENT ROOMS IN [PRACTICE NAME].

Objectives

- To ensure the security, safe handling, quality and integrity of medicines is not compromised during storage

- To ensure there is an effective system in place in which the temperature of all treatment/clinic rooms that are used to store medicines are checked and monitored on a daily basis.

- To ensure that medicines are stored under conditions that allows their quality to be maintained

Scope

This SOP covers all treatment rooms where medicines are stored in [practice name].

The Stages of the Process

- [staff member name] (or their delegate) in the practice is responsible for monitoring the temperature of treatment room(s), and ensuring appropriate actions are taken if temperatures exceed safe parameters.

- [staff member name] (or their delegate) also has responsibility for ensuring that the temperatures are monitored and recorded using the appropriate documentation on a daily basis.

- The monitoring should take place at the same time each day in order to give an accurate audit trail.

Recording daily refrigerator temperatures

- Temperatures should all be recorded on the [daily room temperature monitoring form].

- Firstly read and record the actual temperature shown on the screen of the digital thermometer, then, press the appropriate button on the device to show the maximum and minimum temperatures from the digital refrigerator thermometer. The thermometer must then be reset by pressing the appropriate button on the device.

- The monitoring sheet should be completed in full each day and [staff member name] should ensure all sections are complete and initial to indicate he/she has checked the temperature and recorded the requirements accurately.

- The temperature of the room should not exceed 25°C for more than seven consecutive days. If this occurs please refer to the standard operating procedure [Process to follow if the temperature exceeds/falls below safe parameters] for further instructions.

- The [daily room temperature monitoring form] should be attached in a plastic wallet to a suitable location in the treatment room

- A fresh copy of the monitoring form should be printed for each calendar month.

- Temperature monitoring forms should be kept for one year before destruction.

Responsibility

- It is the responsibility of [staff member name] (or their delegate) to monitor the temperature of the clinic room where medicines are stored each day and complete all relevant documentation.

| Document version |  |
| --- | --- |
| Developed by |  |
| Approved by |  |
| Date of SOP |  |
| Review date |  |

## Review

This SOP should be reviewed annually unless new guidance or legislation dictates a review any sooner.

I have read and understood the SOP for temperature monitoring of medicinal products in <insert the name of your Surgery/Practice/Unit here>.

| Name | Sign | Date |
| --- | --- | --- |